{"text_format":"3","workbook":"xlsb","n_sheets":1,"sheets":["Chute_tension"],"not_rendered":{"defined_names":6},"read":"bin_skipped_in_rows","date_system":"1900","formulas":"cached_only","passed_over":{"ids":[37,38,1024],"n":273}}

{"sheet":"Chute_tension","index":0,"n_rows":92,"n_cols":11,"rows_kept":92,"merged":[[8,4,8,9],[13,4,13,10],[21,4,21,10],[29,4,29,10],[37,4,37,10],[45,4,45,10],[53,4,53,10],[61,4,61,10],[69,4,69,10],[77,4,77,10],[85,4,85,10]],"read":"bin_skipped_in_rows","flags":["formulas_cached_only","records_skipped"],"rows_in_doubt":{"n":0,"rows":[]},"rows_in_doubt_other":24}
[null,"Chute de tension dans un câble électrique"]
[]
[null,"Calcul direct :"]
[null,"Résistivité ?",{"v":1.7242e-08,"d":"1.724E-08"},"Ohm x m",null,"Tension?",0,"Intensité?",0,"Puissance=",0]
[null,"Section ?",0,"mm2",null,"Puissance?",0,"Tension?",0,"Intensité=",{"$error":"#DIV/0!"}]
[null,"Longueur ?",0,"m"]
[null,"Intensité ?",0,"A"]
[null,"Résistance =",{"$error":"#DIV/0!"},"Ohm"]
[null,"Chute de tension =",{"$error":"#DIV/0!"},"V","UNE CHUTE DE TENSION MAXI ACCEPTABLE EN 12V EST DE MAXI 0,3V"]
[null,"Puissance perdue Dissippée dans le cable =",{"$error":"#DIV/0!"},"W"]
[null,"Synthèse :"]
[null,"Chute max ?",0,"V"]
[]
[null,"Section","Longueur","R (Ohm)","Intensité (A)"]
[null,"(mm2)","(m)",{"v":0.022989333333333334,"d":"0.023 "},1,2,5,10,20,50,100]
[null,0.75,1,{"v":0.022989333333333334,"d":"0.023 "},{"v":0.022989333333333334,"d":"0.023 "},{"v":0.04597866666666667,"d":"0.046 "},{"v":0.11494666666666667,"d":"0.115 "},{"v":0.22989333333333334,"d":"0.230 "},{"v":0.4597866666666667,"d":"0.460 "},{"v":1.1494666666666666,"d":"1.149 "},{"v":2.2989333333333333,"d":"2.299 "}]
[null,null,2,{"v":0.04597866666666667,"d":"0.046 "},{"v":0.04597866666666667,"d":"0.046 "},{"v":0.09195733333333334,"d":"0.092 "},{"v":0.22989333333333334,"d":"0.230 "},{"v":0.4597866666666667,"d":"0.460 "},{"v":0.9195733333333334,"d":"0.920 "},{"v":2.2989333333333333,"d":"2.299 "},{"v":4.5978666666666665,"d":"4.598 "}]
[null,null,5,{"v":0.11494666666666667,"d":"0.115 "},{"v":0.11494666666666667,"d":"0.115 "},{"v":0.22989333333333334,"d":"0.230 "},{"v":0.5747333333333333,"d":"0.575 "},{"v":1.1494666666666666,"d":"1.149 "},{"v":2.2989333333333333,"d":"2.299 "},{"v":5.747333333333334,"d":"5.747 "},{"v":11.494666666666667,"d":"11.495 "}]
[null,null,10,{"v":0.22989333333333334,"d":"0.230 "},{"v":0.22989333333333334,"d":"0.230 "},{"v":0.4597866666666667,"d":"0.460 "},{"v":1.1494666666666666,"d":"1.149 "},{"v":2.2989333333333333,"d":"2.299 "},{"v":4.5978666666666665,"d":"4.598 "},{"v":11.494666666666667,"d":"11.495 "},{"v":22.989333333333335,"d":"22.989 "}]
[null,null,20,{"v":0.4597866666666667,"d":"0.460 "},{"v":0.4597866666666667,"d":"0.460 "},{"v":0.9195733333333334,"d":"0.920 "},{"v":2.2989333333333333,"d":"2.299 "},{"v":4.5978666666666665,"d":"4.598 "},{"v":9.195733333333333,"d":"9.196 "},{"v":22.989333333333335,"d":"22.989 "},{"v":45.97866666666667,"d":"45.979 "}]
[]
[null,"Section","Longueur","R (Ohm)","Intensité (A)"]
[null,"(mm2)","(m)",{"v":0.017242,"d":"0.0172 "},1,2,5,10,20,50,100]
[null,1,1,{"v":0.017242,"d":"0.0172 "},{"v":0.017242,"d":"0.017 "},{"v":0.034484,"d":"0.034 "},{"v":0.08621000000000001,"d":"0.086 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.34484000000000004,"d":"0.345 "},{"v":0.8621,"d":"0.862 "},{"v":1.7242,"d":"1.724 "}]
[null,null,2,{"v":0.034484,"d":"0.0345 "},{"v":0.034484,"d":"0.034 "},{"v":0.068968,"d":"0.069 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.34484000000000004,"d":"0.345 "},{"v":0.6896800000000001,"d":"0.690 "},{"v":1.7242,"d":"1.724 "},{"v":3.4484,"d":"3.448 "}]
[null,null,5,{"v":0.08621000000000001,"d":"0.0862 "},{"v":0.08621000000000001,"d":"0.086 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.43105000000000004,"d":"0.431 "},{"v":0.8621000000000001,"d":"0.862 "},{"v":1.7242000000000002,"d":"1.724 "},{"v":4.3105,"d":"4.311 "},{"v":8.621,"d":"8.621 "}]
[null,null,10,{"v":0.17242000000000002,"d":"0.1724 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.34484000000000004,"d":"0.345 "},{"v":0.8621000000000001,"d":"0.862 "},{"v":1.7242000000000002,"d":"1.724 "},{"v":3.4484000000000004,"d":"3.448 "},{"v":8.621,"d":"8.621 "},{"v":17.242,"d":"17.242 "}]
[null,null,20,{"v":0.34484000000000004,"d":"0.3448 "},{"v":0.34484000000000004,"d":"0.345 "},{"v":0.6896800000000001,"d":"0.690 "},{"v":1.7242000000000002,"d":"1.724 "},{"v":3.4484000000000004,"d":"3.448 "},{"v":6.896800000000001,"d":"6.897 "},{"v":17.242,"d":"17.242 "},{"v":34.484,"d":"34.484 "}]
[]
[null,"Section","Longueur","R (Ohm)","Intensité (A)"]
[null,"(mm2)","(m)",{"v":0.011494666666666667,"d":"0.0115 "},1,2,5,10,20,50,100]
[null,1.5,1,{"v":0.011494666666666667,"d":"0.0115 "},{"v":0.011494666666666667,"d":"0.011 "},{"v":0.022989333333333334,"d":"0.023 "},{"v":0.057473333333333335,"d":"0.057 "},{"v":0.11494666666666667,"d":"0.115 "},{"v":0.22989333333333334,"d":"0.230 "},{"v":0.5747333333333333,"d":"0.575 "},{"v":1.1494666666666666,"d":"1.149 "}]
[null,null,2,{"v":0.022989333333333334,"d":"0.0230 "},{"v":0.022989333333333334,"d":"0.023 "},{"v":0.04597866666666667,"d":"0.046 "},{"v":0.11494666666666667,"d":"0.115 "},{"v":0.22989333333333334,"d":"0.230 "},{"v":0.4597866666666667,"d":"0.460 "},{"v":1.1494666666666666,"d":"1.149 "},{"v":2.2989333333333333,"d":"2.299 "}]
[null,null,5,{"v":0.057473333333333335,"d":"0.0575 "},{"v":0.057473333333333335,"d":"0.057 "},{"v":0.11494666666666667,"d":"0.115 "},{"v":0.28736666666666666,"d":"0.287 "},{"v":0.5747333333333333,"d":"0.575 "},{"v":1.1494666666666666,"d":"1.149 "},{"v":2.873666666666667,"d":"2.874 "},{"v":5.747333333333334,"d":"5.747 "}]
[null,null,10,{"v":0.11494666666666667,"d":"0.1149 "},{"v":0.11494666666666667,"d":"0.115 "},{"v":0.22989333333333334,"d":"0.230 "},{"v":0.5747333333333333,"d":"0.575 "},{"v":1.1494666666666666,"d":"1.149 "},{"v":2.2989333333333333,"d":"2.299 "},{"v":5.747333333333334,"d":"5.747 "},{"v":11.494666666666667,"d":"11.495 "}]
[null,null,20,{"v":0.22989333333333334,"d":"0.2299 "},{"v":0.22989333333333334,"d":"0.230 "},{"v":0.4597866666666667,"d":"0.460 "},{"v":1.1494666666666666,"d":"1.149 "},{"v":2.2989333333333333,"d":"2.299 "},{"v":4.5978666666666665,"d":"4.598 "},{"v":11.494666666666667,"d":"11.495 "},{"v":22.989333333333335,"d":"22.989 "}]
[]
[null,"Section","Longueur","R (Ohm)","Intensité (A)"]
[null,"(mm2)","(m)",{"v":0.008621,"d":"0.0086 "},1,2,5,10,20,50,100]
[null,2,1,{"v":0.008621,"d":"0.0086 "},{"v":0.008621,"d":"0.009 "},{"v":0.017242,"d":"0.017 "},{"v":0.043105000000000004,"d":"0.043 "},{"v":0.08621000000000001,"d":"0.086 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.43105,"d":"0.431 "},{"v":0.8621,"d":"0.862 "}]
[null,null,2,{"v":0.017242,"d":"0.0172 "},{"v":0.017242,"d":"0.017 "},{"v":0.034484,"d":"0.034 "},{"v":0.08621000000000001,"d":"0.086 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.34484000000000004,"d":"0.345 "},{"v":0.8621,"d":"0.862 "},{"v":1.7242,"d":"1.724 "}]
[null,null,5,{"v":0.043105000000000004,"d":"0.0431 "},{"v":0.043105000000000004,"d":"0.043 "},{"v":0.08621000000000001,"d":"0.086 "},{"v":0.21552500000000002,"d":"0.216 "},{"v":0.43105000000000004,"d":"0.431 "},{"v":0.8621000000000001,"d":"0.862 "},{"v":2.15525,"d":"2.155 "},{"v":4.3105,"d":"4.311 "}]
[null,null,10,{"v":0.08621000000000001,"d":"0.0862 "},{"v":0.08621000000000001,"d":"0.086 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.43105000000000004,"d":"0.431 "},{"v":0.8621000000000001,"d":"0.862 "},{"v":1.7242000000000002,"d":"1.724 "},{"v":4.3105,"d":"4.311 "},{"v":8.621,"d":"8.621 "}]
[null,null,20,{"v":0.17242000000000002,"d":"0.1724 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.34484000000000004,"d":"0.345 "},{"v":0.8621000000000001,"d":"0.862 "},{"v":1.7242000000000002,"d":"1.724 "},{"v":3.4484000000000004,"d":"3.448 "},{"v":8.621,"d":"8.621 "},{"v":17.242,"d":"17.242 "}]
[]
[null,"Section","Longueur","R (Ohm)","Intensité (A)"]
[null,"(mm2)","(m)",{"v":0.0068968,"d":"0.0069 "},1,2,5,10,20,50,100]
[null,2.5,1,{"v":0.0068968,"d":"0.0069 "},{"v":0.0068968,"d":"0.007 "},{"v":0.0137936,"d":"0.014 "},{"v":0.034484,"d":"0.034 "},{"v":0.068968,"d":"0.069 "},{"v":0.137936,"d":"0.138 "},{"v":0.34484,"d":"0.345 "},{"v":0.68968,"d":"0.690 "}]
[null,null,2,{"v":0.0137936,"d":"0.0138 "},{"v":0.0137936,"d":"0.014 "},{"v":0.0275872,"d":"0.028 "},{"v":0.068968,"d":"0.069 "},{"v":0.137936,"d":"0.138 "},{"v":0.275872,"d":"0.276 "},{"v":0.68968,"d":"0.690 "},{"v":1.37936,"d":"1.379 "}]
[null,null,5,{"v":0.034484,"d":"0.0345 "},{"v":0.034484,"d":"0.034 "},{"v":0.068968,"d":"0.069 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.34484000000000004,"d":"0.345 "},{"v":0.6896800000000001,"d":"0.690 "},{"v":1.7242,"d":"1.724 "},{"v":3.4484,"d":"3.448 "}]
[null,null,10,{"v":0.068968,"d":"0.0690 "},{"v":0.068968,"d":"0.069 "},{"v":0.137936,"d":"0.138 "},{"v":0.34484000000000004,"d":"0.345 "},{"v":0.6896800000000001,"d":"0.690 "},{"v":1.3793600000000001,"d":"1.379 "},{"v":3.4484,"d":"3.448 "},{"v":6.8968,"d":"6.897 "}]
[null,null,20,{"v":0.137936,"d":"0.1379 "},{"v":0.137936,"d":"0.138 "},{"v":0.275872,"d":"0.276 "},{"v":0.6896800000000001,"d":"0.690 "},{"v":1.3793600000000001,"d":"1.379 "},{"v":2.7587200000000003,"d":"2.759 "},{"v":6.8968,"d":"6.897 "},{"v":13.7936,"d":"13.794 "}]
[]
[null,"Section","Longueur","R (Ohm)","Intensité (A)"]
[null,"(mm2)","(m)",{"v":0.0043105,"d":"0.0043 "},1,2,5,10,20,50,100]
[null,4,1,{"v":0.0043105,"d":"0.0043 "},{"v":0.0043105,"d":"0.004 "},{"v":0.008621,"d":"0.009 "},{"v":0.021552500000000002,"d":"0.022 "},{"v":0.043105000000000004,"d":"0.043 "},{"v":0.08621000000000001,"d":"0.086 "},{"v":0.215525,"d":"0.216 "},{"v":0.43105,"d":"0.431 "}]
[null,null,2,{"v":0.008621,"d":"0.0086 "},{"v":0.008621,"d":"0.009 "},{"v":0.017242,"d":"0.017 "},{"v":0.043105000000000004,"d":"0.043 "},{"v":0.08621000000000001,"d":"0.086 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.43105,"d":"0.431 "},{"v":0.8621,"d":"0.862 "}]
[null,null,5,{"v":0.021552500000000002,"d":"0.0216 "},{"v":0.021552500000000002,"d":"0.022 "},{"v":0.043105000000000004,"d":"0.043 "},{"v":0.10776250000000001,"d":"0.108 "},{"v":0.21552500000000002,"d":"0.216 "},{"v":0.43105000000000004,"d":"0.431 "},{"v":1.077625,"d":"1.078 "},{"v":2.15525,"d":"2.155 "}]
[null,null,10,{"v":0.043105000000000004,"d":"0.0431 "},{"v":0.043105000000000004,"d":"0.043 "},{"v":0.08621000000000001,"d":"0.086 "},{"v":0.21552500000000002,"d":"0.216 "},{"v":0.43105000000000004,"d":"0.431 "},{"v":0.8621000000000001,"d":"0.862 "},{"v":2.15525,"d":"2.155 "},{"v":4.3105,"d":"4.311 "}]
[null,null,20,{"v":0.08621000000000001,"d":"0.0862 "},{"v":0.08621000000000001,"d":"0.086 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.43105000000000004,"d":"0.431 "},{"v":0.8621000000000001,"d":"0.862 "},{"v":1.7242000000000002,"d":"1.724 "},{"v":4.3105,"d":"4.311 "},{"v":8.621,"d":"8.621 "}]
[]
[null,"Section","Longueur","R (Ohm)","Intensité (A)"]
[null,"(mm2)","(m)",{"v":0.0028736666666666667,"d":"0.0029 "},1,2,5,10,20,50,100]
[null,6,1,{"v":0.0028736666666666667,"d":"0.0029 "},{"v":0.0028736666666666667,"d":"0.003 "},{"v":0.0057473333333333335,"d":"0.006 "},{"v":0.014368333333333334,"d":"0.014 "},{"v":0.028736666666666667,"d":"0.029 "},{"v":0.057473333333333335,"d":"0.057 "},{"v":0.14368333333333333,"d":"0.144 "},{"v":0.28736666666666666,"d":"0.287 "}]
[null,null,2,{"v":0.0057473333333333335,"d":"0.0057 "},{"v":0.0057473333333333335,"d":"0.006 "},{"v":0.011494666666666667,"d":"0.011 "},{"v":0.028736666666666667,"d":"0.029 "},{"v":0.057473333333333335,"d":"0.057 "},{"v":0.11494666666666667,"d":"0.115 "},{"v":0.28736666666666666,"d":"0.287 "},{"v":0.5747333333333333,"d":"0.575 "}]
[null,null,5,{"v":0.014368333333333334,"d":"0.0144 "},{"v":0.014368333333333334,"d":"0.014 "},{"v":0.028736666666666667,"d":"0.029 "},{"v":0.07184166666666666,"d":"0.072 "},{"v":0.14368333333333333,"d":"0.144 "},{"v":0.28736666666666666,"d":"0.287 "},{"v":0.7184166666666667,"d":"0.718 "},{"v":1.4368333333333334,"d":"1.437 "}]
[null,null,10,{"v":0.028736666666666667,"d":"0.0287 "},{"v":0.028736666666666667,"d":"0.029 "},{"v":0.057473333333333335,"d":"0.057 "},{"v":0.14368333333333333,"d":"0.144 "},{"v":0.28736666666666666,"d":"0.287 "},{"v":0.5747333333333333,"d":"0.575 "},{"v":1.4368333333333334,"d":"1.437 "},{"v":2.873666666666667,"d":"2.874 "}]
[null,null,20,{"v":0.057473333333333335,"d":"0.0575 "},{"v":0.057473333333333335,"d":"0.057 "},{"v":0.11494666666666667,"d":"0.115 "},{"v":0.28736666666666666,"d":"0.287 "},{"v":0.5747333333333333,"d":"0.575 "},{"v":1.1494666666666666,"d":"1.149 "},{"v":2.873666666666667,"d":"2.874 "},{"v":5.747333333333334,"d":"5.747 "}]
[]
[null,"Section","Longueur","R (Ohm)","Intensité (A)"]
[null,"(mm2)","(m)",{"v":0.0017242,"d":"0.0017 "},1,2,5,10,20,50,100]
[null,10,1,{"v":0.0017242,"d":"0.0017 "},{"v":0.0017242,"d":"0.002 "},{"v":0.0034484,"d":"0.003 "},{"v":0.008621,"d":"0.009 "},{"v":0.017242,"d":"0.017 "},{"v":0.034484,"d":"0.034 "},{"v":0.08621,"d":"0.086 "},{"v":0.17242,"d":"0.172 "}]
[null,null,2,{"v":0.0034484,"d":"0.0034 "},{"v":0.0034484,"d":"0.003 "},{"v":0.0068968,"d":"0.007 "},{"v":0.017242,"d":"0.017 "},{"v":0.034484,"d":"0.034 "},{"v":0.068968,"d":"0.069 "},{"v":0.17242,"d":"0.172 "},{"v":0.34484,"d":"0.345 "}]
[null,null,5,{"v":0.008621,"d":"0.0086 "},{"v":0.008621,"d":"0.009 "},{"v":0.017242,"d":"0.017 "},{"v":0.043105000000000004,"d":"0.043 "},{"v":0.08621000000000001,"d":"0.086 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.43105,"d":"0.431 "},{"v":0.8621,"d":"0.862 "}]
[null,null,10,{"v":0.017242,"d":"0.0172 "},{"v":0.017242,"d":"0.017 "},{"v":0.034484,"d":"0.034 "},{"v":0.08621000000000001,"d":"0.086 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.34484000000000004,"d":"0.345 "},{"v":0.8621,"d":"0.862 "},{"v":1.7242,"d":"1.724 "}]
[null,null,20,{"v":0.034484,"d":"0.0345 "},{"v":0.034484,"d":"0.034 "},{"v":0.068968,"d":"0.069 "},{"v":0.17242000000000002,"d":"0.172 "},{"v":0.34484000000000004,"d":"0.345 "},{"v":0.6896800000000001,"d":"0.690 "},{"v":1.7242,"d":"1.724 "},{"v":3.4484,"d":"3.448 "}]
[]
[null,"Section","Longueur","R (Ohm)","Intensité (A)"]
[null,"(mm2)","(m)",{"v":0.001077625,"d":"0.0011 "},1,2,5,10,20,50,100]
[null,16,1,{"v":0.001077625,"d":"0.0011 "},{"v":0.001077625,"d":"0.001 "},{"v":0.00215525,"d":"0.002 "},{"v":0.0053881250000000006,"d":"0.005 "},{"v":0.010776250000000001,"d":"0.011 "},{"v":0.021552500000000002,"d":"0.022 "},{"v":0.05388125,"d":"0.054 "},{"v":0.1077625,"d":"0.108 "}]
[null,null,2,{"v":0.00215525,"d":"0.0022 "},{"v":0.00215525,"d":"0.002 "},{"v":0.0043105,"d":"0.004 "},{"v":0.010776250000000001,"d":"0.011 "},{"v":0.021552500000000002,"d":"0.022 "},{"v":0.043105000000000004,"d":"0.043 "},{"v":0.1077625,"d":"0.108 "},{"v":0.215525,"d":"0.216 "}]
[null,null,5,{"v":0.0053881250000000006,"d":"0.0054 "},{"v":0.0053881250000000006,"d":"0.005 "},{"v":0.010776250000000001,"d":"0.011 "},{"v":0.026940625000000003,"d":"0.027 "},{"v":0.053881250000000006,"d":"0.054 "},{"v":0.10776250000000001,"d":"0.108 "},{"v":0.26940625,"d":"0.269 "},{"v":0.5388125,"d":"0.539 "}]
[null,null,10,{"v":0.010776250000000001,"d":"0.0108 "},{"v":0.010776250000000001,"d":"0.011 "},{"v":0.021552500000000002,"d":"0.022 "},{"v":0.053881250000000006,"d":"0.054 "},{"v":0.10776250000000001,"d":"0.108 "},{"v":0.21552500000000002,"d":"0.216 "},{"v":0.5388125,"d":"0.539 "},{"v":1.077625,"d":"1.078 "}]
[null,null,20,{"v":0.021552500000000002,"d":"0.0216 "},{"v":0.021552500000000002,"d":"0.022 "},{"v":0.043105000000000004,"d":"0.043 "},{"v":0.10776250000000001,"d":"0.108 "},{"v":0.21552500000000002,"d":"0.216 "},{"v":0.43105000000000004,"d":"0.431 "},{"v":1.077625,"d":"1.078 "},{"v":2.15525,"d":"2.155 "}]
[]
[null,"Section","Longueur","R (Ohm)","Intensité (A)"]
[null,"(mm2)","(m)",{"v":0.00068968,"d":"0.0007 "},1,2,5,10,20,50,100]
[null,25,1,{"v":0.00068968,"d":"0.0007 "},{"v":0.00068968,"d":"0.001 "},{"v":0.00137936,"d":"0.001 "},{"v":0.0034484,"d":"0.003 "},{"v":0.0068968,"d":"0.007 "},{"v":0.0137936,"d":"0.014 "},{"v":0.034484,"d":"0.034 "},{"v":0.068968,"d":"0.069 "}]
[null,null,2,{"v":0.00137936,"d":"0.0014 "},{"v":0.00137936,"d":"0.001 "},{"v":0.00275872,"d":"0.003 "},{"v":0.0068968,"d":"0.007 "},{"v":0.0137936,"d":"0.014 "},{"v":0.0275872,"d":"0.028 "},{"v":0.068968,"d":"0.069 "},{"v":0.137936,"d":"0.138 "}]
[null,null,5,{"v":0.0034484,"d":"0.0034 "},{"v":0.0034484,"d":"0.003 "},{"v":0.0068968,"d":"0.007 "},{"v":0.017242,"d":"0.017 "},{"v":0.034484,"d":"0.034 "},{"v":0.068968,"d":"0.069 "},{"v":0.17242,"d":"0.172 "},{"v":0.34484,"d":"0.345 "}]
[null,null,10,{"v":0.0068968,"d":"0.0069 "},{"v":0.0068968,"d":"0.007 "},{"v":0.0137936,"d":"0.014 "},{"v":0.034484,"d":"0.034 "},{"v":0.068968,"d":"0.069 "},{"v":0.137936,"d":"0.138 "},{"v":0.34484,"d":"0.345 "},{"v":0.68968,"d":"0.690 "}]
[null,null,20,{"v":0.0137936,"d":"0.0138 "},{"v":0.0137936,"d":"0.014 "},{"v":0.0275872,"d":"0.028 "},{"v":0.068968,"d":"0.069 "},{"v":0.137936,"d":"0.138 "},{"v":0.275872,"d":"0.276 "},{"v":0.68968,"d":"0.690 "},{"v":1.37936,"d":"1.379 "}]